Immersion Heater Type EHK

DESCRIPTION

Electrical heating element consisting of 3 U-shaped tubular heaters, which are brazed or welded onto a threaded nipple G 11/2 and can be supplied with a thermostat and/or a temperature limiter.

TECHNICAL DATA

| Surface loading | Depending on the medium to be heated, up to 25W/cm² |
| --- | --- |
| Temperature resistance | up to maximum 850°C |
| Maximum immersion depth | 2200mm |
| The immersion heaters are equipped for the use with 3-phase connection 400V or with parallel connection 230V |  |

APPLICATION

Heating of liquid and gaseous media e. g. provision of hot water, boilers, oil heaters, air heaters.